# REQUEST FOR PROPOSAL SAN-FY2021-C1-LF

# Addendum 1

**Question**

One question I have is around entrance conduits into **Santiam Junior/Senior High School** located at **265 SW Evergreen St, Mill City, OR 97360.**

Can you describe for me what exists for getting a [redacted vendor name] fiber cable into the building and what would be needed?

**Answer**

Our MDF for the district is in our Auditorium building. Please take a look at the rough picture below. Currently fiber comes off a phone pole at location A. There is an access box in the ground, from that access box fiber runs in underground conduit from A to B. At B there is another access box and the fiber continues another 50' or so to our MDF in that building, existing conduit the whole way. I believe there are pull cables as well but I'd have to double check. This is all less than a year old.

If your fiber comes in off that same telephone pole I don't know if you could splice to the existing or if you'd just want to run your own new fiber into our Auditorium.

